**Public Toilets Assessment form**

| **Name of the package** |  |
| --- | --- |

| **ASTA PUBLIC TOILETS SUSTAINABILITY ASSESSMENT****(Assessment for all the public toilets included in the package)** |
| --- |
| **Description of Indicators and criteria****from the ASEAN Public Toilets Standard** | **Answers of applicant****(1 point / question)** | **Verification of****ASTA Assessors**  |
| **YES** | **NO** | **YES** | **NO** |
| **Toilet Entrance** |  |
| 1. Signage is clear and well visible from a distance. Entrance is clean, uncluttered  |  |  |  |  |
| **General**  |  |
| 2. Walls, ceiling are clean, dry, undusted and not littered  |  |  |  |  |
| 3. Floors and Walls are clean, intact, dry  |  |  |  |  |
| 4. There is no bad smell in the toilet  |  |  |  |  |
| 5. Ventilation / openings for air circulation are in place and functioning  |  |  |  |  |
| 6. Suggestion Box and Education materials are in place  |  |  |  |  |
| 7. Basic amenities are in place (i.e.: toilet paper, soap, bins, mirror, tissues etc.)  |  |  |  |  |
| 8. Resource & water saving measures (sensor taps, natural light, etc.)  |  |  |  |  |
| **Wash Area**  |  |
| 9. Taps, hand dryers, litter bins are in place and working  |  |  |  |  |
| 10. No leakage, no damage to the fittings fixture and plumbing  |  |  |  |  |
| 11. Tissue/soap dispensers are in place, working and filled  |  |  |  |  |
| 12. Wash area is overall clean, dry, tidy, not littered  |  |  |  |  |
| **WC**  |  |
| 13. Cubicle door is clean, functioning and latched; lock/latch are intact  |  |  |  |  |
| 14. WC has a toilet seat and lid  |  |  |  |  |
| 15. Coat Hanger is in place and intact  |  |  |  |  |
| 16. Toilet bowl/squat and seat are intact and unclogged, not stained  |  |  |  |  |
| 17. Manual or Auto flush is clean and functioning  |  |  |  |  |
| 18. Toilet paper dispenser is intact and replenished  |  |  |  |  |
| 19. Waste bin with liners is in place, is dry, clean, sanitized, odourless, intact  |  |  |  |  |
| **Urinals**  |  |
| 20. Urinals are intact and unclogged, not stained  |  |  |  |  |
| 21. Manual or Auto flush is clean and functioning |  |  |  |  |
| **Safety**  |  |
| 22. Internal and External lighting is in place and functioning  |  |  |  |  |
| **Total points**  |  |  |  |  |
| **Maximum points** | **22** | **22** | **22** | **22** |
| **Rural package minimum points** | **11** |
| **Urban package minimum points** | **13** |
| **Do the restrooms respond to the ASTA public toilets sustainability criteria ? (Answer YES or NO)** |  |  |

| **ASSESSOR COMMENTS** |
| --- |
| **If it does not fully comply with the sustainability criteria, what should be improved ?** |  |